## Final Summary
5 kWp Grid-Connected Rooftop Solar ¦ Final Summary
Purpose | Mock techno-commercial case study | Built for GET (Technical Sales/BD/PM) interview preparation - not a live customer engagement
Technical Configuration
Recommended configuration | 9 x 575 Wp Waaree bifacial modules + Loom Solar Fusion 63 (6kW, 3-phase)
DC system size (kWp) | 5.175
Estimated annual generation, Year 1 (kWh) | 6799.95
Generation yield check (kWh/kWp/yr) | 1314
Commercial Summary
Total direct project cost (Rs.) | 248525.55
Gross project price, before subsidy (Rs.) | 278348.616
PM Surya Ghar CFA applied (Rs.) | 78000
Net customer investment, after subsidy (Rs.) | 200348.616
Customer Economics
Net annual savings, Year 1 (Rs.) | 47309.6338
Simple payback (years) | 4.2348
Approx. 25-year ROI on net investment | 530.4%
Inverter Selection Note
A Loom Solar Fusion 63 (6 kW, three-phase) was selected for this 5.175 kWp array, giving a DC/AC ratio of ~0.86 (below the typical 1.1-1.25 EPC target). This is a sizing trade-off made under the assumption of a three-phase customer connection and design headroom - see Component Selection for the full rationale and the single-phase alternative that was considered.

## Read Me
Solar Rooftop PV ¦ Techno-Commercial Case Study
Purpose
A self-directed mock techno-commercial case study for a simulated residential rooftop solar customer, built to demonstrate the requirement-to-proposal workflow used in technical sales/BD roles. Not a live client engagement.
How to read this workbook
1. Assumptions - all input assumptions in one place
2. Load & Sizing - why 5.175 kWp was chosen
3. Component Selection - module + inverter specs, string compatibility checks, and the sizing rationale (incl. DC/AC ratio)
4. BOM & Costing - full bill of materials, project cost, subsidy, net customer investment
5. Savings & Financial - annual savings, payback, ROI, 25-year view
6. Sensitivity - how tariff / generation / cost swings affect payback
7. Alternatives - comparison against 2 other configurations
8. Final Summary - one-page rollup, all values LINKED to source sheets (no duplicate hardcoding)
Legend
Blue text = editable assumption ¦ Black text = formula ¦ Yellow fill = key assumption to sanity-check ¦ Orange fill = a flagged issue/decision, explained in a note
IMPORTANT - read before presenting this anywhere
- This is a MOCK case study using public reference prices and manufacturer datasheets, not a live customer engagement or vendor quotation.
- Inverter selection: a Loom Solar Fusion 63 (6 kW, three-phase) was selected for this 5.175 kWp array. This gives a DC/AC ratio of ~0.86 (below the typical 1.1-1.25 EPC target), reflecting a design choice to size for the assumed customer's three-phase connection and to build in headroom, rather than tightly optimizing the ratio. A more closely-sized single-phase inverter could be considered instead if the customer's actual connection/equipment availability differs - see Component Selection for the trade-off discussion.
- BOM, mounting, cabling, protection, and labour costs are engineering estimates anchored to typical Indian residential solar market pricing, not confirmed supplier quotations.
- PM Surya Ghar subsidy structure (Rs.30,000/kW for first 2kW, Rs.18,000/kW for 3rd kW, capped at Rs.78,000 for systems >=3kW residential) reflects official MNRE guidelines as of Sep 2026.

## Assumptions
Assumptions
Customer Profile (simulated - clearly an assumption, not real data)
Customer type | Urban residential | Homeowner with independent rooftop access | Assumption
Location | Delhi-NCR (representative) | Chosen for consistency with Vista's Noida base; irradiation assumption below reflects this region | Assumption
Avg. monthly electricity bill | 5500 | Used to size the system to a 'higher-consumption home' segment | Assumption
Assumed electricity tariff | 8 | Rs./kWh, mid-slab residential tariff typical for a Delhi-NCR high-consumption household | Assumption
Monthly consumption (derived) | 687.5 | Bill / tariff | Formula
Usable shadow-free roof area | 550-600 sq ft | Enough for a ~5 kWp array at typical module footprint (~18 sq ft/module incl. spacing) | Assumption
Customer objective | Reduce electricity bill; moderate upfront cost priority over max ROI | Drives system sizing and component choice (mid-tier, not premium) | Assumption
Electrical connection | Three-phase (see Component Selection note) | Required for the corrected inverter pairing (Fusion 63) | Assumption - flagged
Technical / Generation Assumptions
Peak sun hours (Delhi-NCR, representative) | 4.5 | hrs/day - conservative planning value for the region | Assumption
System performance ratio (PR) | 80% | Accounts for module/inverter/temperature/wiring/soiling losses combined - typical range 75-82% for well-maintained rooftop systems in India | Assumption
Module degradation (annual, after yr 1) | 0.55% | 0.55%/yr - reflects Waaree's linear performance warranty profile | Assumption
O&M cost (annual) | 2500 | Cleaning + minor upkeep; on-grid systems have low O&M vs off-grid/hybrid | Assumption
Inverter replacement | Assumed once, year 12 | String inverters typically warrantied 5 yrs, useful life 10-15 yrs | Assumption
Self-consumption share of generation | 55% | Rest exported to grid under net metering; daytime household occupancy assumed moderate | Assumption
Net metering credit rate (for exported units) | 6.5 | Rs./kWh - typically at or below retail tariff under most DISCOM net-metering rules | Assumption
Government Policy (fact, not assumption)
PM Surya Ghar CFA - 1st kW | 30000 | Rs./kW, official MNRE slab | Fact
PM Surya Ghar CFA - 2nd kW | 30000 | Rs./kW, official MNRE slab | Fact
PM Surya Ghar CFA - 3rd kW | 18000 | Rs./kW, official MNRE slab | Fact
Max residential CFA (systems >=3kW) | 78000 | Flat cap regardless of size beyond 3kW, per MNRE guidelines | Fact
Domestic content requirement | Yes | CFA requires domestically manufactured modules/cells - Waaree is domestic, so this system qualifies | Fact

## Load & Sizing
Load & Requirement Analysis / System Sizing
Step 1: Estimate load from the customer's bill
Avg. monthly bill (Rs.) | 5500
Assumed tariff (Rs./kWh) | 8
Estimated monthly consumption (kWh) | 687.5
Estimated annual consumption (kWh) | 8250
Step 2: Size the system to target ~80-90% of annual consumption offset
Target offset of annual consumption | 85% | Full 100% offset would oversize the system versus roof area and budget constraints; 85% is a common practical target
Target annual generation (kWh) | 7012.5
Peak sun hours (from Assumptions) | 4.5
Performance ratio (from Assumptions) | 80%
Indicative required capacity (kWp) | 5.3368 | Target annual generation / (PSH x 365 x PR)
Step 3: Fit to available module count and roof area
Selected module rating (Wp) | 575
Number of modules selected | 9 | Rounds the indicative requirement to a whole number of modules that also fits the assumed roof area
Resulting DC system size (kWp) | 5.175
Check vs. indicative requirement | Within 15% - acceptable fit
Why 5.175 kWp: the customer's bill (Rs.5,500/month at Rs.8/kWh) implies roughly 688 kWh/month, ~8,250 kWh/year of consumption. Targeting 85% offset needs roughly 4.9-5.0 kWp under Delhi-NCR irradiation (4.5 PSH, 80% PR). Nine 575 Wp modules give 5.175 kWp DC - the closest whole-module fit that also comfortably suits the assumed 550-600 sq ft roof area (9 modules at ~18 sq ft each with spacing = ~500-550 sq ft).

## Component Selection
Component Selection
Module: Waaree BIN-08-575 (575 Wp, N-Type TOPCon, Bifacial, Dual-Glass)
Rated power | 575 Wp
Technology | N-Type TOPCon, bifacial, dual-glass, monocrystalline
Cell count | 144
Rated efficiency | 22.26%
Voc (open-circuit voltage) | 52.3 V | Used below for string voltage compatibility check
Isc (short-circuit current) | 13.87 A | Used below for inverter current compatibility check
Dimensions | ~2278 x 1134 x 33 mm
Warranty | 12-yr product / 30-yr linear power output (typical for this product class)
Why this module | Bifacial N-Type gives a modest generation uplift (typically 3-8%) from rear-side reflected light where the mounting allows some ground/roof reflectance and rear ventilation; the case study conservatively does NOT add a bifacial gain to the 6,800 kWh/year generation figure, since a flush/close-mounted residential roof install captures little rear-side gain in practice.
Inverter Selection & Sizing Rationale
This 5.175 kWp array is paired with a Loom Solar Fusion 63 (6 kW, three-phase) inverter. A smaller, single-phase inverter (~4 kW class) was also considered, since it would give a DC/AC ratio closer to the typical 1.1-1.25 EPC target. The 6 kW three-phase unit was selected instead under the assumption that the customer has (or will arrange) a three-phase connection, and to keep headroom against a Voc-derating margin. This is a sizing trade-off, not a technical error - both configurations are electrically valid for this array; the choice depends on the customer's actual electrical connection, which should be confirmed on-site before finalizing a real quotation.
Alternative considered | Single-phase ~4 kW-class inverter (e.g. Loom Solar Fusion 41) | Would give a DC/AC ratio closer to ~1.15-1.29 depending on exact model, but max PV input power on this class (~4.5 kW) is close to or below the 5.175 kWp array - would need either a slight array de-rate or confirming the specific model's headroom before use.
Selected inverter | Loom Solar Fusion 63 (6 kW, three-phase) | Spec used in this model: max PV input power 7.8 kW, max input voltage 1000 V, 2 MPPT trackers, max input current 40 A, 98.5% max efficiency
Assumption this relies on | Customer has, or will arrange, a three-phase electrical connection | Reasonable for a higher-consumption home (the customer profile already assumed), and stated explicitly here as a design input rather than left implicit
String voltage & current compatibility check (with selected inverter)
String Voc (9 modules in series) | 9 x 52.3 V = 470.7 V | Well within Fusion 63's 1000 V max input - safe even with cold-weather Voc increase (~10-15%)
String Isc | 13.87 A | Comfortably within Fusion 63's 40 A max input current
DC/AC ratio | 5.175 kWp / 6 kW = 0.86 | Below the typical 1.1-1.25 target range for optimal inverter utilization. This reflects the three-phase/headroom design choice above rather than a sizing error - the array will never be clipped, but the inverter runs below its full rated capacity. Worth flagging as a trade-off if asked about cost-optimization.
Inverter specs used (Loom Solar Fusion 63)
Rated output power | 6 kW
Phase | Three-phase, 400 V output
Max PV input power | 7.8 kW
Max PV input voltage | 1000 V
MPPT trackers | 2
Max efficiency | 98.5%
Communication | WiFi, GPRS, RS-485, RS-232 | Enables remote generation monitoring - relevant to customer after-sales value prop
Protection | Anti-islanding, over-voltage/current/temp, DC reverse polarity, Type II SPD

## BOM & Costing
Bill of Materials & Project Costing
Item | Qty | Unit | Unit Cost (Rs.) | Total Cost (Rs.) | Basis
Major Equipment
Waaree 575 Wp N-Type bifacial module | 9 | nos | 11299 | 101691 | Public manufacturer/retail reference price
Loom Solar Fusion 63 (6 kW, 3-phase inverter) | 1 | nos | 42000 | 42000 | Estimated from typical Rs./kW string-inverter market pricing (~Rs.7,000/kW); exact retail price for this SKU not independently confirmed
Balance of System
Aluminium/GI mounting structure | 1 | lot | 25000 | 25000 | Estimate; roof-type dependent
4 sq.mm DC solar cable | 1 | lot | 7000 | 7000 | Estimate anchored to current cable market listings
AC cable + accessories | 1 | lot | 5000 | 5000 | Estimate
MC4 connectors + DC isolator | 1 | lot | 3500 | 3500 | Estimate
ACDB/DCDB + AC & DC SPD (Type II) | 1 | lot | 8000 | 8000 | Estimate
MCB/MCCB protection (AC & DC side) | 1 | lot | 4000 | 4000 | Estimate
Earthing (module + LA earthing, 2 pits) | 1 | lot | 6000 | 6000 | Estimate; standard 2-pit earthing for residential rooftop
Lightning protection | 1 | lot | 3000 | 3000 | Estimate
External display/monitoring accessory | 1 | lot | 2500 | 2500 | Fusion 63 has built-in WiFi monitoring; this covers optional add-on display
Installation & Engineering
Installation & commissioning labour | 1 | lot | 15000 | 15000 | Estimate; typical for a 5 kW-class rooftop crew job
Transportation | 1 | lot | 3000 | 3000 | Estimate
Engineering/design + net-metering application support | 1 | lot | 8000 | 8000 | Estimate; covers DISCOM liaison and net-metering paperwork
Testing & commissioning documentation | 1 | lot | 3000 | 3000 | Estimate
Subtotal (materials + BOS + installation) |  |  |  | 236691
Contingency |  |  | 5% | 11834.55 | Covers minor scope changes/price fluctuation
TOTAL DIRECT PROJECT COST |  |  |  | 248525.55
Commercial Pricing (EPC margin -> customer quotation)
EPC overhead & commercial margin |  |  | 12% |  | Typical margin range for residential EPC solar quotes in India is 10-15% over direct cost
GROSS PROJECT PRICE (before subsidy) |  |  |  | 278348.616
PM Surya Ghar Subsidy Application
System size (kWp) |  |  |  | 5.175
Applicable CFA (residential, >=3kW system => flat cap) |  |  |  | 78000 | System is 5.175 kWp (>3kW) so the flat Rs.78,000 cap applies, not the per-kW slab calculation
NET CUSTOMER INVESTMENT (after subsidy) |  |  |  | 200348.616

## Savings & Financial
Annual Energy Generation, Savings & Financial Analysis
Annual Generation (derived, reconciled against the 6,800 kWh/year target)
DC system size (kWp) | 5.175
Peak sun hours | 4.5
Performance ratio | 80%
Estimated annual generation, Year 1 (kWh) | 6799.95 | kWp x PSH x 365 x PR. This reconciles to ~6,800 kWh/year (matches the confirmed project baseline, superseding an earlier draft figure of 6,570 kWh which had used 5 kWp nominal instead of the actual 5.175 kWp DC size).
Sanity check: generation yield (kWh/kWp/year) | 1314 | Typical Delhi-NCR rooftop yield range is ~1,300-1,600 kWh/kWp/year; this model's ~1,314 sits at the conservative end, appropriate for a real (non-ideal tilt/orientation, some soiling) residential install rather than a lab-perfect estimate.
Bill Savings (not 1:1 with generation - self-consumption vs. export matters)
Self-consumption share | 55%
Self-consumed units (kWh/yr) | 3739.9725
Exported units (kWh/yr) | 3059.9775
Retail tariff (Rs./kWh) | 8
Net-metering export credit rate (Rs./kWh) | 6.5
Savings from self-consumption (Rs./yr) | 29919.78
Credit from grid export (Rs./yr) | 19889.8537
O&M cost (Rs./yr) | -2500
NET ANNUAL SAVINGS, Year 1 (Rs.) | 47309.6338
Payback & ROI
Net customer investment (Rs., after subsidy) | 200348.616
SIMPLE PAYBACK (years) | 4.2348 | Net investment / Year-1 net annual savings. Ignores degradation and tariff escalation - a conservative (slightly pessimistic) simple-payback view.
25-Year Perspective (accounts for degradation; O&M and one inverter replacement)
Annual module degradation | 0.55%
Inverter replacement cost (Year 12, one-time) | 42000 | Assumed same as original inverter unit cost
Approx. cumulative net savings over 25 years | 1062679.9481 | Simplified: Year-1 net savings x 25 years x an average degradation haircut (~12 years' worth of decline, roughly approximating the declining-output curve) minus one inverter replacement. A simplification, not a full year-by-year DCF - flagged as such deliberately (see Financial Analysis note in the report).
Approx. 25-year ROI (on net investment) | 530.4%
Simple payback vs. DCF: this model deliberately uses SIMPLE payback (investment / year-1 savings) as the headline number, since it's the metric a residential customer actually asks about and is easy to defend. A discounted cash-flow (DCF) view - discounting future savings to present value - would be more rigorous for a large commercial project, but is unnecessary complexity for a small residential case; the 25-year cumulative view above is a lightweight substitute that still credits degradation and one replacement cost, without a full year-by-year model.

## Sensitivity
Sensitivity Analysis
Base case net investment (Rs.) | 200348.616
Base case tariff (Rs./kWh) | 8
Base case generation (kWh/yr) | 6799.95
Self-consumption share | 55%
Export credit rate (Rs./kWh) | 6.5
O&M (Rs./yr) | -2500
1. Tariff sensitivity (Low / Base / High) - payback in years
Tariff scenario | Low (Rs.6.5) | Base (Rs.8) | High (Rs.9.5)
Payback (years) | 4.8046 | 4.2348 | 3.7859
2. Generation sensitivity (Lower / Base / Higher, e.g. shading/soiling/orientation variance) - payback in years
Generation scenario | Lower (-10%) | Base | Higher (+10%)
Payback (years) | 4.7332 | 4.2348 | 3.8314
3. Project cost sensitivity (Lower / Base / Higher, e.g. component price swing) - payback in years
Cost scenario | Lower (-10%) | Base | Higher (+10%)
Payback (years) | 3.8114 | 4.2348 | 4.6583
Reading this: payback ranges roughly 3.8 to 4.8 years across realistic tariff/generation/cost variation - the base case (~4.2 years) is not fragile to any single assumption moving by ~10%. This kind of range, not a single point estimate, is what a customer or reviewing manager actually wants to see.

## Alternatives
Alternative Configurations Considered
Criterion | Selected: Waaree Bifacial + Fusion 63 | Alt. 1: Standard Mono-PERC + smaller inverter | Alt. 2: Premium Tier-1 module (e.g. Adani/Premier)
Module efficiency | 22.26% (N-Type TOPCon, bifacial) | ~19-20% (standard Mono-PERC) | ~22-23% (similar tier, premium brand)
Approx. module cost | Rs.11,299 (9 units) | ~15-20% cheaper per Wp | ~10-15% pricier per Wp
Bifacial gain | Present but not counted in this model's generation figure (conservative) | Not applicable | Depends on specific model
Warranty | 12-yr product / 30-yr linear output | Typically 10-12 yr product / 25-yr output | Similar to selected, brand-dependent
Availability (India) | Good - Waaree is a major domestic manufacturer, PM Surya Ghar-eligible | Good, widely available | Good, but marginally higher lead time for premium SKUs
Recommendation | SELECTED - best balance of technical headroom (bifacial, high efficiency) and cost for this customer's budget-conscious priority | Lower upfront cost, but shorter warranty and lower efficiency reduces long-term value | Marginal efficiency gain doesn't justify the premium for a budget-conscious residential customer
The point of this comparison is not to declare one product universally 'best' - it's to show the trade-off reasoning: the selected configuration wins on this specific customer's stated priority (moderate upfront cost, but wants a durable, bankable brand), not on any single spec in isolation.